## Slide 1
Login Haydn
anapy /scratch/s1iduser/DTnewversion/dt_gui.py

## Slide 2
For Doing Integration:
Click:
After step 1 and 2, you will get:
Click this to choose parameter file
Click this you will go to the Geany interface
Step 1:
Step 2:

## Slide 3
For Doing Integration:
Step 3: Click:
Click
This step can be skipped, if you know the parameters you want to use

## Slide 4
For Doing Integration:
Click
Click
Once finished:
However, if you use all the processors to run the integration, click this button may not give you response; you can use the “Control+C” to terminate
Step 4:

## Slide 5
For checking
Integration:
! Click this button to load the parameter file
Click
Show the value range
Step 5:

## Slide 6
For doing reconstruction:
Step 1: Click:
! Choose the reconstruction parameter file, which is located under the output folder, the suffix is the time string
After step 1 and 2, you will get:
Click
Once finished:
Step 2: Click

## Slide 7
For checking reconstruction results:
Step 3 Click:
Get:
Click:
Then click:

## Slide 8
For checking reconstruction results:
Click:
Click this will change the threshold automatically

## Slide 9
For checking reconstruction results:
Click:

## Slide 10
For checking reconstruction results:
Click:

## Slide 11
Storage Hierarchy:
These files better to open with DT_GUI.py

## Slide 12
If you want to open this file in image J, use import -> raw
the suffix 128x128 is the width and height, respectively, data type 32-bit real

## Slide 13
If you want to open this file in image J, use import->raw
the suffix 128x128 is the width and height, respectively, data type 64-bit real